Mar 29, 2017
Larry Christofori
Gullwing Realty, Inc

larry@gullwingrealty.com

Re: Proposed Subdivision of 527 Mass Ave and construction at “223 Northampton St”

Dear Mr Christofori:

Thank you for providing drawings suggesting a revised design for a proposed second building on the property at 527 Massachusetts Ave.  We’ve begun to review the front elevation and the side elevation provided and hope you can provide additional plans and detail. But I’d like to offer a walk with your architect, to consider the parameters of our neighborhood architecture and strategies to design a building that would not distract from the historic character of Northampton St. We also need to consider zoning requirements, and strategies to mitigate any differences from zoning. We look forward to your response to concerns articulated in our previous letter (July 2016).
Concerning additional plans and detail:

· A plot plan to show limits of building and relationship to neighboring properties 

· Dimensions (scale is not effective on computer screen)

· High resolution images to allow clear reading of drawings

· Materials

· Zoning parameters (compared with proposal)

· Explanation of shaded area on side elevation

· Explanation of three front entrances

· Building width (appears to match both narrow Northampton St buildings and wide Mass Ave buildings) 

· Rear Egress 

· Evaluation of sunshine impacts
· Utility connections 

· Repairs for 527 Mass Ave
· Parking – Where will new residents park? Would you want parking in front of your building to be reserved for clearly marked shared cars?
I hope you’ll be able to get us plans that respond to CSANA concerns, so we can schedule you to present to a future meeting.
Sincerely, 

Carol Blair, President

Chester Square Area Neighborhood Association

Cc:
Sam Chambers, Mayor’s Office


Tito Jackson, Boston City Council


Katie Reid, South End Landmarks Commission


Zoning Board of Appeal (ISD@Boston.Gov)
